CVT/PVT — Workflow & Study-Design Questions

Questions 3, 8, and 10 are the most blocking — they'll shape how I sequence the next development phase. No rush on the rest; happy to discuss in person if easier.

Hardware & Software

- Smarteye's role. How is Smarteye being used alongside the Tobii — redundant eye-tracking, head tracking, or something else? Does it route through iMotions, or do we need to handle it separately?

- We will use just the Smarteye devices and iMotions software. (No tobii integration required)

- Software versions on the lab machine. Could you let me know which versions of iMotions, BAlert Live, Tobii Pro Lab, and Smarteye are installed?

- Will reconnect with James in-person and answer this soon.

iMotions Setup

- iMotions study definition. Building the iMotions study (sensor list, recording settings) needs to happen once before any participant runs. Will you or Dr. Poltavski set that up, or should I get iMotions access to build it?

Recommendation: one shared study (e.g. Vigilance_CVT_PVT ) with a new respondent added per participant.

- I will be helping with the setup of that. I will reach out to James and get his handover. We could jump on a call together while I work on this in the local PC. Perhaps having Lina during that meeting will be helpful too. I can arrange that according to your availability on Thursday or Friday evening perhaps?

Event Markers

- Confirm the event list. I plan to mark: block start/end, each 6-minute period transition, stimulus onset, participant response, practice start/end, and the difficulty condition. Should we also mark stimulus offset, or is onset enough?

We should mark stimulus offset as well.

We should also add information about events/response being ‘error of omission’ and ‘error of commission’.

- Stimulus marker granularity (CVT). For each trial, three options:

(a) onset only

(b) onset + offset as a paired range marker

(c) onset, offset, and a separate response marker

Option (c) added with ‘error of omission’ and ‘error of commission’ indicator.

- Should marker labels reveal signal vs. non-signal? (e.g., cvt_signal_onset vs.  cvt_nonsignal_onset .) Makes offline epoching trivial; only matters if someone is watching the iMotions timeline live during recording.

Yeah, we can have the labels reveal signal vs. non-signal as we ask the RAs to manually write the corresponding epochs on a subject tracker file as well to double check later in the data processing and management phase.

- Timing-precision target. What alignment precision do you need between markers and the EEG / eye-tracking streams for the planned analyses (Engagement Index, Frontal Theta, fixation/saccade events)? Sub-millisecond is achievable on the same machine; if tighter is required I would add a hardware trigger.

Sub-millisecond synchronization is good for this project.

Session Workflow

- Who starts the iMotions recording?

(a) The RA clicks Start in iMotions, then launches the task software. Task only sends markers.

(b) The task software triggers iMotions to start recording automatically.

Option (a) - We can have the RA start the iMotions software.

- Recording continuity. iMotions starts/stops all sensors together — there's no public way to toggle EEG and eye-tracking independently. Should we use:

(a) one continuous recording for the entire session (EEG + eye-tracking through practice, breaks, and both tasks), or

(b) separate recordings for CVT and PVT?

Option (a) is simpler and preserves a continuous EEG baseline; (b) gives smaller, task-scoped files.

Option (a)

- Calibration timing. I'm assuming this order: RA seats participant → runs Tobii calibration and BAlert impedance in iMotions → launches the task software → task shows the EEG-baseline hold screen → recording proceeds. Does that match what you've been planning? Is re-calibration ever expected between blocks (e.g., if the participant shifts)?

We do envision 5 minutes break between the 24 minutes task sessions of CVT and between PVT and CVT. This would require recalibration of the eye-tracking software.

- Failure handling. If iMotions disconnects mid-block (rare but possible), should the task:

(a) abort the block

(b) continue, log a warning, finish the behavioral data

Option (b) as long as it’s rare. Missed data can be managed in that case. But if it becomes more frequent, the quality of data would be very poor and we will need to reconsider this point.